## Slide 1: Microbiology
Chapter 4
Visualizing organisms

## Slide 2: Metric Units of Length
How many microns in a millimeter?
How many millimeters in a nanometer?
We will work with things that are micrometers (a.k.a microns) in size most commonly
Conversions between millimeters, micrometers, and nanometers are Factors of 1000 (or of 103)
Notes: 2

## Slide 3: Figure 4.3 The limits of resolution (and some representative objects within those ranges) of the human eye and of various types of microscopes.
Notes: 3

## Slide 4
How imaging of microbes is optimized
  Wavelength of radiation (sound, light, electrons)
    Determines ultimate resolution of region of interest
    Sets limits on what we can easily see
  Magnification
    Results when a beam of radiation is refracted (bent)
    Degree of magnification – thickness of lens, curvature, the speed of light through substance
  Resolution
    Ability to distinguish objects that are close together
    Blue filter allows shorter wavelengths to pass which increases resolution
  Contrast
    Differences between neighboring objects
    Most often, intensity between an object and its background
SUMMARY SLIDE – Principles of Microscopy
Notes: 4

## Slide 5: WAVELENGTH OF LIGHT - The electromagnetic spectrum.
Notes: 5

## Slide 6: Why Wavelength Matters
An object is seen ONLY IF a “light” wave crest and trough
pass through an object at the same time
virus
bacterium
critical distance at long wavelength
virus too small to be seen
bacterium seen
critical distance at short wavelength
virus seen
bacterium seen (in more detail)
Which wavelengths would you prefer to use to see stuff???
Let’s look at a
and a
Notes: 6

## Slide 7: Light refraction and image magnification by a convex glass lens.
Light bends when it interacts with matter - refraction
Flat surface
Notes: 7

## Slide 8: Light refraction and image magnification by a convex glass lens.
What happens to intense light as it is spread out to magnify an image??
Light bends when it interacts with matter - refraction
curved surface
Notes: 8

## Slide 9: Microscopy
General Principles of Microscopy
  Resolution
    Ability to distinguish two points that are close together
    The better the resolution, the better nearby objects are distinguished from one another when they are really close

## Slide 10: Light Microscopy – Simple microscope
Light Microscopy
  Also known as bright-field microscopes
  Uses visible light to “see” objects
  Advantage: We also use visible light to see objects
  Therefore we can see objects directly through light microscopes

## Slide 11: Light Microscopy – Simple microscope
Simple microscope
  Contains a single magnifying lens
  (USB microscopes)
  Similar to magnifying glass
  von Leeuwenhoek and Hooke built simple microscopes to observe microorganisms

## Slide 12: Light Microscopy – Compound microscope
Compound microscope
  Series of lenses (usually 2) for magnification
  Light passes through specimen into objective lens, and then into ocular lenses
  Total magnification = magnification of objective lens × magnification of ocular lens – greater magnification than with simple microscopes
  Oil immersion lens are specialized objective lenses that increase resolution by concentrating light, improving brightness and focal depth
  Have one or two ocular lenses
  Most have condenser lens (concentrates and directs light into specimen) – does NOT magnify samples

## Slide 13: The effect of immersion oil on resolution.
Microscope
objective
Microscope
objective
Notes: 13

## Slide 14: Review on your own: A bright-field compound light microscope.
Notes: 14

## Slide 15: General Principles of Microscopy
Contrast
  The difference in intensity between two objects, or between an object and its background
    Is it the object or the background?
  Important in determining resolution
    Need to know there are two “things” in order to know resolution
  Use of light that is in phase also increases contrast
  Staining increases contrast (by adding intensity)

## Slide 16: Three kinds of light microscopy based on improving contrast WITHOUT staining
For each:
What is the color of the background?
What is the color of the object itself?
Notes: 16

## Slide 17: Dark Field Microscopy
Best for observing pale objects and external features
Only light rays scattered by specimen enter objective lens
Specimen appears light against dark background
Increases contrast and enables observation of more details
Useful for examining small or colorless cells

## Slide 18: Phase Contrast Microscopy
Used to examine living organisms or specimens that would be damaged/altered by attaching them to slides or staining
Contrast is created because light waves are out of phase
Best for viewing internal structures

## Slide 19: Fluorescence Microscopy
Special type of light microscopy
UV (invisible) light is the light source (dark background)
Specimen radiates UV energy back as a longer wavelength, visible light (think highlighters and neon colors)
UV light increases contrast (dark background vs. bright colored object)
Some cells are naturally fluorescent; Most cells must be stained with fluorescent dyes
Used in immunofluorescence to identify specific pathogens or specific proteins – increases specificity of staining
Fluorescence is narrow-wavelength emission (single color vs. white), allowing multi-labeling and seeing multiple colors

## Slide 20: Figure 4.7 Fluorescence microscopy.
Notes: 20

## Slide 21: Figure 4.8 Immunofluorescence.
Notes: 21

## Slide 22
Adaptation of fluorescence microscopy
Use UV lasers to illuminate fluorescent chemicals in a highly constricted volume (“confocal”)
Resolution increased because light passes through pinhole aperture; deepens focal depth
Stage moves to illuminate the entire sample
Computer assembles:
  “2D” image from a plane of tiny volumes
  “3D” images from stacks of 2D image planes
Confocal Microscopy
Notes: 22

## Slide 23: Electron Microscopy
Light microscopes cannot resolve structures closer than 200 nm
  lowest wavelength of visible light is 400 nm
Electron microscopes have greater resolving power and magnification
  Electron wavelength is 0.05 nm with average power; 4000x better!
Magnify objects 10,000× to 100,000×
Cannot see directly (electrocution); must use computers and mathematics to reconstruct image
Detailed views of bacteria, viruses, internal cellular structures, molecules, and large atoms
Two types:
  Transmission electron microscopes (see through)
  Scanning electron microscopes (bounce off)

## Slide 24: Figure 4.10 A transmission electron microscope (TEM).
Electrons that pass through sample (or outside sample) in parallel beams are detected (light parts)
Electrons that do not pass through are assumed to hit structure (dark parts)
Notes: 24

## Slide 25: Scanning electron microscopy (SEM) images.
Electrons reflect off of sample; reflection patterns used to reconstruct a 3D image
Notes: 25

## Slide 26: Table 4.2 Comparison of Types of Microscopes (1 of 3)
Notes: 26

## Slide 27: Table 4.2 Comparison of Types of Microscopes (2 of 3)
Notes: 27

## Slide 28: Staining of specimens
Most microorganisms are difficult to view by bright-field microscopy
Fluorescent and electron microscopy is expensive
Coloring specimens with stain increases contrast and resolution
Specimens must be prepared for staining

## Slide 29: Preparing a specimen for staining.
Notes: 29

## Slide 30: Staining
Principles of Staining
  Dyes used as stains are usually salts (dissolve in water)
  Chromophore is the colored portion of the dye
  Acidic dyes
    Negatively charged
    Stains alkaline structures (positively charged - histones)
  Basic dyes
    Positively charged
    stain acidic structures (negatively charged)
      More commonly used since most biomolecules are negatively charged and thus are acidic
  What is the nature of the interaction of stain with cellular components? Covalent or ionic?

## Slide 31
Simple Stains
  Involve soaking the specimen in one stain
Differential Stains
  Uses multiple stains (two, usually)
  Gram stain
      Distinguish Gram positive and Gram negative cells
  Acid-fast stain
      Stains Mycobacterium and Nocardia (waxy lipid in cell walls)
  Endospore stain
      Endospore walls are impermeable to many chemicals, stain uses heat to drive the staining agent into endospore
  Histological stain
      Used to visualize things like fungi and cancer cells in tissue samples
Special Stains
  Negative stain (or capsular stain)
    Uses acidic dye – repelled by negative charges on surface of cell
  Flagellar stain
      Increases diameter of flagella – allows them to be seen
Types of Staining – SUMMARY SLIDE
Notes: 31

## Slide 32: Simple Staining
Composed of single basic dye
  Crystal violet, safranin, methylene blue
Used to determine size, shape, arrangement, viability, or the presence, of cells

## Slide 33: Differential Staining – SUMMARY SLIDE
Uses more than one dye (most often, two)
Used to distinguish between different cells, chemicals, or structures
Common differential stains include:
  Gram stain
  Acid-fast stain
  Endospore stain
  Histological stains

## Slide 34: Figure 4.15 The Gram staining procedure.
Notes: 34

## Slide 35: Figure 4.16 Ziehl-Neelsen acid-fast stain.
Notes: 35

## Slide 36: Endospore stain of Bacillus anthracis.
Notes: 36

## Slide 37: Special staining – SUMMARY SLIDE
Simple stains used to identify specific microbial structures that are not easily visualized
Special stains include:
  Negative stains – good for visualizing capsules
  Flagellar stains – good for visualizing flagella
  Fluorescent stains

## Slide 38: Negative (capsule) stain of Klebsiella pneumoniae.
Notes: 38

## Slide 39: Figure 4.19 Flagellar stain of Proteus vulgaris.
Notes: 39

## Slide 40: Table 4.3 Some Stains Used for Light Microscopy
Notes: 40

## Slide 41
  Used to identify pathogens in animal tissues (medical/veterinary)
    Two popular stains for histological specimens
      Gomori methenamine silver (GMS)
        Presence of fungi and carbohydrates in tissues
      Hematoxylin and eosin (HE)
        Presence of cancer cells
Histological stains
Notes: 41